**AV20CPD-100 20MP CONTERA PANORAMIC 180 DEG 4 X 2592X1944 H.265/H.264/M-JPEG, WDR 120DB, NIGHTVIEW, SNAPSTREAM+, 4 X 6.0MM LENS, 30FPS, IR, AUDIO, IP66, IK-10, ONVIF, POE+/ 12V DC/ 24V AC**

This A&E specification is written according to Construction Specifications Institute (CSI) 3-Part Format, based on MasterFormat™ (2009 Edition) and The Project Resource Manual – CSI Manual of Practice. [www.csinet.org/masterformat](http://www.csinet.org/masterformat).

Manufacturer is responsible for the accuracy of the technical data included in this specification.

.

**Division 28 – Electric Safety and Security**

**Section 28.23.29 – Video Surveillance – Remote Devices and Sensors**

**Part 1 General**

## 1.1 General Requirements

The camera shall be of manufacturer’s official product line, designed for continuous commercial or industrial use.

The camera shall be based on standard parts and components and utilize proven technology using open and published protocols.

All camera installation, configuration, setup, programming and all related work shall be performed by electronic technicians thoroughly trained in the installation and service of the equipment provided and in complete compliance with all local codes and regulations.

All equipment provided shall be backed by a three-year manufacturer warranty.

##  Certifications and Standards

1. European Community Directives:

2004/108/EC (EMC Directive);

2006/95/EC (Low Voltage Directive);

2011/65/EU (RoHS Directive)

 1907/2006/EC (REACH Directive)

 2002/96/EC (WEEE Directive)

1. European EMC Standards to which conformity is declared:

 EN 55024:2010 + A1:2008

 EN 55032:2015 + AC:2016 Class A

 EN 55035:2017

 EN 61000-3-2:2014

 EN 61000-3-3:2013

 EN 60950-1: 2006+A11:2009+A1:2010+A12:2011

 

1. FCC Standard Compliance:

 Title 47, Part 15 (47 CFR 15) Subpart B Class A

1. Mechanical Standards:

ANSI/IEC 60529-2004 - IP66 dust/water Ingress protection rating

EN62262:2002 – IK-10 impact rating

1. Video Compression Technology

H.264 MPEG-4, Part 10 ISO/IEC 14496-10 AVC/H.265

1. Networking Standard:

 IEEE 802.3at-2009 PoE Standard

## Part 2 Products

**2.1 Manufacturer**

**Arecont Vision Costar, LLC**

**400 N Brand Boulevard, Suite 860**

**Glendale, CA 91203-2311 USA**

**Phone: 818-937-0700**

 **877-226-3728**

**Fax: 818-937-0464**

[**www.arecontvision.com**](http://www.arecontvision.com)

**2.2 General**

The ConteraIPTM Panoramic megapixel IP cameras provide an all-in-one solution for wide-area video surveillance. Four sensors and lenses are housed in an outdoor-rated IP66 and IK-10 impact-resistant dome enclosure. The cameras are available in a 180° configuration and resolutions of 8- and 20-megapixel (MP). A single ConteraIPTM Panoramic camera can replace multiple conventional cameras with the ability to zoom into multiple regions of interest. Their return on investment is easily measured any way you view it. Regardless of the time of day, the ConteraIPTM Panoramic is prepared for any lighting condition. For applications with poor lighting conditions, Enhanced WDR™ (wide dynamic range) at 120dB provides the best visual balance to shaded and bright light conditions. For clear color images in low-light, NightView™ offers strong low-light sensitivity for capturing details in extremely poor-lit scenes, which is further enhanced by LED illumination built into each sensor gimbal.

Arecont Vision was the first to bring H.264 to the mainstream market and recently developed SNAPstream™ (Smart Noise Adaptation and Processing) technology for reducing bandwidth without impacting image quality. Today we are proud to offer our next generation H.265 with SNAPstream+™ smart codec capable of delivering high quality video while saving over 50% of the data rate to reduce or prevent strain on the network. The SD card slot supports up to 256GB of storage capacity for convenient onboard storage. The camera’s power can be supplied via a Power-over-Ethernet (PoE - IEEE 802.3at) compliant network cable connection. The ConteraIPTM Panoramic is ONVIF (Open Network Video Interface Forum) Profile S, G, Q, and T compliant, providing interoperability between network video products regardless of manufacturer.

**2.3 Hardware**

* The camera shall utilize four high sensitivity 6 Megapixel CMOS sensor with 1/2.9” optical format, 1.62um x 1.62um pixel size, progressive scan and Active Pixel Count: 2592(H) x 1944(V) pixel array.
* The camera shall have and integrated four 6mm, M12 megapixel IR corrected fixed lens with F2.0 and combined horizontal field of view of 180°.
* The camera shall have SDHC card slot for onboard storage up to 256GB, class 1- and UHS-1.
* The camera shall have die-cast aluminum chassis with IK-10 vandal resistant dome. Entire enclosure to be rated minimum IP66 for water and dust protection.
* The camera shall have a 2-axis gimbal with 355˚ pan and 90˚ tilt for easy and accurate positioning.
* The camera’s power source shall be Power over Ethernet (PoE+) complying with the IEEE 802.3at standard to support IR illuminator and camera.
* The camera shall have an auxiliary power input, AC24V and DC12V.
* The camera shall be utilized for indoor and outdoor applications.

**2.4 Imaging**

* The camera shall combine four images for a 180 degree horizontal field of view.
* The camera shall have standard compression support with simultaneous streaming of H.265, H.264 and MJPEG formats.
* The camera shall feature automatic exposure, automatic multi-matrix white balance, shutter speed control to minimize motion blur, programmable brightness, saturation, sharpness, contrast and hue.
* The camera’s shutter speed shall be 0.1ms - 500ms.
* The camera shall feature 5-255 Hz flicker control, windowing, simultaneous delivery of full-field view and zoomed images at video frame rate, instantaneous electronic zoom, pan and tilt, and electronic image rotation by 180 degrees.
* The camera shall have multi-streaming support of up to two H.265/ H.264 streams and one M-JPEG stream.
* The camera shall have wide dynamic range up to 120dB and a maximum SNR of 50dB.
* The camera shall have +/-2˚ digital vertical and +/-4˚ horizontal alignment to adjust images.
* The camera shall have privacy masking, the ability to select multiple regions of an arbitrary shape to block the video.
* The camera shall have Real Time Streaming Protocol (RTSP) support allowing for compatibility with media players such as Apple QuickTime, VLC Player and others.
* The camera shall have extended motion detection grid, a higher granularity grid of 1024 distinct motion detection zones. User can select between 64 zone based motion detection and extended motion detection to provide backward compatibility with the existing Video Management System (VMS) integration.
* The camera shall feature streaming of the full field of view (FOV) and multiple regions of interest (ROI) for forensic zooming.
* The camera shall provide 21 levels of compression quality for optimal viewing and archiving.
* The cameras H.265/ H.264 implementation shall maintain full real time video frame rates.
* The camera shall output at a maximum resolution of 10368 (H) x 1944(V) pixels up to frame rate of 30 frames per second (FPS) of each sensor.
* It shall be possible to program the camera to output a variety of lower resolution image, i.e. 8192(H) x 1536(V) pixels at 30 FPS of each sensor.
* The camera shall be able to save bandwidth & storage by running at 1/4 full resolution, and Bandwidth Limit Control.
* The camera shall be able to have below scaled resolutions: 8192x1536, 7680x1080, 5184x972, 5120x720, 3840x540, 2560x480, 2560x360, and 1280x240.
* The camera shall feature MoonLight™ mode - extended exposure and noise cancellation
* This camera shall have SNAPstream+™ (Smart Noise Adaptation and Processing) capability to reduce bandwidth without impacting image quality.
* The camera shall have On-Screen Display (OSD).

**2.5 Video**

Video frame rate (each sensor up to):

30fps @ 10368x1080

15fps @ 10368x1080 + 10fps @ 10368x1080

30fps @ 7680x1080 + 30fps @ 5120x720 + 30fps @ 2560x480

*\*\*Max frames per second (FPS) with Enhanced WDR™ turned on will be up to 50% of listed FPS*

**Scaled Resolution:**

8192x1536, 7680x1080, 5184x972, 5120x720, 3840x540, 2560x480, 2560x360, and 1280x240.

**2.6 Protocols**

* The camera shall have Real Time Streaming Protocol (RTSP) support allowing for compatibility with media players such as Apple QuickTime, VLC Player and others.
* The camera shall support both unicast and multicast communication protocol.
* The camera shall support SNMP, IPv6, IPv4, HTTP, HTTPS, SSL, TCP/IP, UPnP, UDP, RTCP, RTSP, RTP, SMTP, NTP, DHCP, FTP, 802.1x, Zero Configure.
* 100/1000 Base-T Ethernet Network Interface

**2.7 Electrical**

Alarm Input (Dry Contact) and Alarm Output (relay)

Power over Ethernet (PoE): PoE+ 802.3at

Auxiliary Power 12V DC, 24VAC

Power consumption: PoE – 24 Watts maximum (with IR enabled)

**2.8 IR Illuminator**

8 pcs 850nm LEDs/ 100ft (30m) IR distance (max)

Total PoE Solution (No external power requirement)

**2.9 Audio Electrical**

Streaming Two-way

Compression G.711 PCM 8kHz

Input/Output Line in / Line out

**2.10 Networking**

The camera shall be equipped with a 1000 Mbps LAN connector.

**2.11 Environmental**

Operating temperature: -20°C (-4°F) to +50°C (122°F)

Storage temperature: -40°C (-40°F) to +60˚C (140 °F)

Humidity 0% to 90% (non-condensing)

**2.12 Minimum Illumination**

Color (Day Mode): 0.1 Lux

B/W (Night Mode): 0.01 Lux, IR sensitive

[www.megapixelvideo.com](http://www.megapixelvideo.com) info@arecontvision.com © 2005 Arecont Vision

**2.13 Packaging**

Unit Dimensions (H x Dia) 7.42”H (188.4 mm) x 7.72” dia. (196mm) Weight: 5.51 lbs (2.5 kg)

Packaged Dimensions (H x W x L) 9.2” (234mm) x 9.1” (230mm) x 9.1” (230mm) Weight: 6.17 lbs (2.8kg)

**2.14 Compatible Accessories**

AV-CRMA Corner Mount Adapter

AV-CRMA-W Corner Mount Adapter (White)

AV-JBA Junction Box Adapter

AV-JBA-W Junction Box Adapter (White)

AV-PMA Pole Mount Adapter

AV-PMA-W Pole Mount Adapter (White)

AV-PMJB Pendant Mount

AV-PMJB-W Pendant Mount (White)

AV-WMJB Wall Mount Bracket

AV-WMJB-W Wall Mount Bracket (White)

CP-CAP-W Wall Mount and Cap Accessory (white)

**2.15 Related Documents**

ConteraIPTM Panoramic Datasheet

ConteraIPTM Panoramic Installation Manual